Rough Grading

General Notes

1. All grading shall be completed in accordance with the approved grading plan, the City of Chino Hills Development Code, Chapter 70 of the Uniform Building Code (latest edition), and preliminary soils report dated _____________ done under the direction and supervision of a licensed soils engineer.  Deviations from the approved grading plan shall be submitted and approved prior to commencement of construction.

2. The hours of operation shall be from 6:00 AM to 7:00 PM, Monday through Friday. Other hours shall require written authorization from the City Engineer or City Building Official.

3. No work shall be undertaken without obtaining a permit from the City. The site superintendent or foreman shall notify the Engineering Inspector  (909) 364-2770 at least 48 hours in advance of any inspections required.

4. The contractor shall repair or replace any public improvements damaged as a result of construction as required by the Public Works Inspector.

5. Any material incorporated as part of the compacted fill shall be approved by the soils engineer. Inspection and certification of fill placement shall be provided by the soils engineer during the process of grading. No rock or similar material greater than eight inches in diameter shall be placed in the fill unless recommendations from such placement have been submitted by the soils engineer in advance and approved by the City Engineer.

6. It shall be the contractor’s responsibility to verify the location of all utilities or structures, above or below ground, shown or not shown on these plans. The engineer shall be notified of any conflicts and construction terminated and streets restored until corrective measures have been approved by the City Engineer.

7. Any unknown sub-surface structures encountered during construction shall be immediately brought to the attention of the soils engineer and the City Engineer prior to proceeding with grading operations.

8. Maximum fill slope shall not exceed 2:1 unless approved by the soils engineer. Fill slopes shall not have less than 90% relative compaction as determined by ASTM D 1557-70 and certified by the soils engineer. Toes of slopes shall be located per Chapter 70 of the Uniform Building Code, latest edition.

9. An encroachment permit shall be required for any construction within the public right of way.

10. An “As-Built” or record drawing of the grading plan shall be submitted by the developer along with a rough grade certification prior to issuance of any building permit.

11. No water shall be obtained from any City fire hydrant without the use of an authorized hydrant meter.

12. The City Engineer may require protective measures and/or temporary drainage provisions to protect adjoining properties during grading operations and periods of heavy rainfall. Erosion control plans shall be approved for the project prior to October 15. All provisions of the erosion control plan shall be in place between October 15 and April 15, or as directed by the City Engineer during periods of heavy rainfall.

13. Retaining walls shown on the rough grading plans require a separate permit from Building Department.

14. Approval of these plans by the City or its agents shall not relieve the contractor or the applicant of the responsibility for correction of errors or omissions discovered during construction. Upon request, the appropriate plan revisions shall be promptly submitted to the City Engineer for review and approval.

15. All grading operations shall cease if wind velocities exceed 25 M.P.H. The site shall be kept regularly watered to mitigate blowing dust for the duration of the high winds.

16. The developer shall be responsible for submitting to the City proof that a Notice of Intent (NOI) for the General Permit for Storm Water Discharges Associated with Construction Activity has been filed with and approved by the State Water Resources Control Board. Construction shall not commence without this approval. The developer shall be responsible to comply with the General Construction Activity Storm Water Permit by implementing their Storm Water Pollution Prevention Plan for the duration of the project.

17. All existing brush or other deleterious materials shall be removed from the site and disposed of properly prior to commencement of grading operations.

18. All organic material and debris shall be stripped prior to grading operations and removed from any areas that are to receive structures or engineered fill.

19. Areas to receive fills shall be properly prepared and benched and approved by the soils engineer and City Engineer prior to the placement of any fill.

20. The stockpiling of any excess material shall be approved by the City Engineer prior to excavation.

21. The design engineer, as a condition of rough grade approval, shall provide a blue top with accompanying witness stake set at the center of each pad reflecting the pad elevation for precise permits.

22. The engineering geologist and soils engineer shall, after clearing and prior to the placement of fill in canyons, inspect each canyon for areas of adverse stability and to determine the presence or absence of subsurface water or spring flow. If needed, sub drains will be designed and constructed prior to the placement of fill in each respective canyon.

23. The exact location and elevation of the sub drains shall be surveyed and provided on the “record drawings”.

24. All cut slopes shall be investigated both during and after grading by the engineering geologist to determine if any slope stability problems exist. Should excavation disclose any present or potential geological hazards, the engineering geologist shall submit recommended treatment to the City Engineer for approval.

25. Where support or buttressing of cut or natural slopes is determined to be necessary by the engineering geologist and soils engineer, the soils engineer shall submit design, locations and calculations to the City Engineer prior to construction. The engineering geologist and soils engineer shall inspect and control the construction of the buttressing and certify to the stability of the slope and adjacent structures upon completion.

26. When cut pads are brought to near grade, the engineering geologist shall determine if the bedrock is extensively fractured or faulted and will readily transmit water. If considered necessary by the engineering geologist and soils engineer, a compacted fill blanket will be placed.

27. Survey monuments shall be protected and perpetuated in place. Any disturbed or covered monuments shall be reset by a Registered Civil Engineer or Licensed Land Surveyor.

28. Compaction test reports shall be submitted to the City of Chino Hills Building and Safety and approval obtained prior to foundation inspection.

29. The compaction report approval from the soils engineer shall indicate the type of field testing performed. Each test shall be identified with the method of obtaining the in-place density, whether sand cone or drive ring and shall be so noted for each test. Sufficient maximum density determination shall be performed to verify the accuracy of the maximum density curves used by the field technician.

30. The soils engineer and engineering geologist shall perform sufficient inspections and be available during grading and construction to verify compliance with the plans, specifications, code and special conditions of the permit within their purview.

31. The civil engineer shall be available during grading to verify compliance with the plans, specifications, code and special conditions of the permit within their purview.

32. Prior to construction of any concrete structure, the contractor shall verify with the soils engineer the type of concrete recommended.

33. Preliminary soils and geology reports and all subsequent reports as approved by the City of Chino Hills are considered a part of the approved grading plan.

34. All existing drainage courses through the site shall remain open until facilities to handle storm water are approved and functional; however, in any case, the permittee shall be held liable for any damage due to obstructing natural drainage patterns.

35. A qualified paleontologist monitor shall be present during grading to salvage fossils. Arrangements to be made at the pregrade meeting between the Paleontologist, grading contractor, city staff and to be coordinated with the County Museum. Fossils recovered shall be identified and stored in an institution with retrievable storage. A report documenting the recovered fossils shall be filed with the City of Chino Hills Building and Safety, Planning Division and the county museum.

36. Proposed rough grading shall begin on  ____________ and be completed by ____________. Grading operations will require submittal of temporary drainage and erosion control plans for review and approval. The control devices must be installed no later than October 15 and be maintained in operable condition until April 15.
37. All cut slope five (5’) feet in height or greater and fill slopes three (3’) feet in height or greater shall be stabilized, landscaped, irrigated and maintained by the developer until maintenance is assured by the Homeowners Association, City Service Area, Private Owner or other approved maintenance authority.
38. The grading quantities for site grading are:
Cut: ___________________ Cubic Yards

Fill:_________________Cubic Yards

39. The undersigned Civil Engineer accepts the responsibility for professional inspections in accordance with Section 3317 of the Uniform Building Code. The Civil Engineer also shall be responsible for the preparation of revised plans and submission of “As-Built” plans upon completion of the grading.
________________________________________
_____________

_____________

Signature


       R.C.E. No.

Expires


Date
