Typical Pre-Entitlement Review

Single Family Precise Grading

1. Is the public right of way properly shown.

2. Does any additional right of way need to be dedicated to the City.

3. Are ultimate street improvements in place across the entire frontage of the property.

4. Are the water and sewer laterals shown properly based on reference plans.

5. Are there any drainage concerns being created by the construction.

6. Any construction of lots larger than one (1) acre require NOI and SWPPP.

7. Does the project create any grading concerns for adjacent properties.

Site Plan Review - Commercial

1. Is the public right of way properly shown

2. Does any additional right of way need to be dedicated to the City.

3. Are ultimate street improvements in place across the entire frontage of the property.

4. Are property lines shown.

5. Are any public easements crossing the site.

6. Are utility services to the site correctly shown.

7. Is this a stand-alone project or part of a previously conditioned project.

8. How does the site drain. Is any drainage from the site impacting adjacent properties.

9. Has the site complied with 100% pre-developed drainage requirement. 

10. Preliminary drainage study should be reviewed in house or by John McCarthy @ RBF, Irvine to determine required amount of flow to be retained onsite.

11. Can surface drainage be directed to landscape areas for filtration and percolation prior to being directed to a storm drain system.

12. If the project requires a traffic study, review in house or send to Carlos Ortiz @ RBF, Irvine.

13. Are all water, sewer and storm drain master plan facilities in place across the frontage. If not they need to be constructed by this project.

14. If site is larger than one (1) acre it will require a NOI and SWPPP prior to grading permit.

Site Plan Review – Residential Apartment or Condominium

1. Is right of way properly shown

2. Does any additional right of way need to be dedicated to the City.

3. Are ultimate improvements in place across the entire frontage of the property.

Tentative Map Review – Residential or Commercial

1. Is right of way properly shown

2. Does any additional right of way need to be dedicated to the City.

3. Are ultimate improvements in place across the entire frontage of the property.

4. No cul-de-sacs longer than 600 feet.

5. No dead end water lines shall exceed 300 feet.

6. Proposed street grades shall be shown. Review against maximum established in City standards.

7. All manufactured slopes shall meander between 2:1 and 4:1 to create natural look.

8. All proposed utilities for the project shall be shown and identified.

9. All proposed easements shall be shown, dimensioned and labeled.

